{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Sheet1","Sheet2"],"not_rendered":{"images":1},"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":182,"n_cols":9,"rows_kept":182}
[null,null,"IncuCyte® S3 Supported Vessel List "]
[]
[null,null,"Updated March 2019"]
[]
[]
[]
["Directions: Use CTRL-F to search by Catalog #, or use filters to find your vessel(s) of interest."]
[]
["Manufacturer","Vessel Type","Wells","Area (cm²)","Catalog #s","Vessel Name","Tray Name","Scan Types","4x"]
["Agilent Seahorse","Plate",24,"N/A","101037-004","24-well Seahorse XF24 V7-PET","Microplates","Standard","Checked"]
["Agilent Seahorse","Plate",24,"N/A","100777-004","24-well Seahorse XF24 V7-PS","Microplates","Standard","Checked"]
["Aurora","Plate",384,"N/A","ABE2-10100A, ABE2-11100A, ABE2-11101A","384-well Aurora IQ-EB Ultra Low Base","Microplates","Standard","Unchecked"]
["Aurora","Plate",384,"N/A","ABB1-10100A, ABB1-11100A, ABB1-11101A, ABC1-10100A, ABC1-11100A, ABC1-11101A, ACB1-10100A, ACB1-11100A, ACB1-11101A, ACC1-10100A, ACC1-11100A, ACC1-11101A, AWB1-10100A, AWB1-11100A, AWB1-11101A, AWC1-10100A, AWC1-11100A, AWC1-11101A","384-well Aurora IQ-EB","Microplates","Standard","Unchecked"]
["BRAND","Plate",96,"N/A","7816 60, 7819 00, 7819 60","96-well BRANDplate","Microplates","Spheroid","Checked"]
["Cellvis","Plate",12,"N/A","P12-1.5H-N","12-well Cellvis","Microplates","Standard","Checked"]
["Cellvis","Plate",96,"N/A","P96-1.5H-N","96-well Cellvis","Microplates","Standard","Checked"]
["Corning","Plate",6,"N/A","353046, 353224, 353846, 353934, 354400, 354402, 354404, 354413, 354417, 354428, 354431, 354432, 354510, 354515, 354595, 354603, 354652, 354658, 356400, 356413, 356515, 356652","6-well Corning Falcon","Microplates","Standard, Whole Well","Checked"]
["Corning","Plate",6,"N/A","3335, 3471, 3506, 3516","6-well Corning","Microplates","Standard, Whole Well","Checked"]
["Corning","Plate",12,"N/A","353043, 353225, 354470, 354500, 354501, 354502, 354503, 356470","12-well Corning Falcon","Microplates","Standard, Whole Well","Checked"]
["Corning","Plate",12,"N/A","3336, 3512, 3513","12-well Corning","Microplates","Standard, Whole Well","Checked"]
["Corning","Plate",24,"N/A","3337, 3473, 3524, 3526, 3527","24-well Corning","Microplates","Standard, Whole Well","Checked"]
["Corning","Plate",24,"N/A","353047, 353226, 353847, 353935, 354408, 354411, 354412, 354414, 354433, 354605, 354619, 354635, 354659, 356408, 356414","24-well Corning Falcon","Microplates","Standard, Whole Well","Checked"]
["Corning","Plate",48,"N/A","353078, 353230, 354505, 354506, 354507, 354508, 354509, 356505, 356509","48-well Corning Falcon","Microplates","Standard","Checked"]
["Corning","Plate",48,"N/A","3338, 3548","48-well Corning","Microplates","Standard","Checked"]
["Corning","Plate",96,"N/A","4580, 4582, 4584, 4586","96-well Corning Half Area Glass Bottom","Microplates","Standard","Unchecked"]
["Corning","Plate",96,"N/A","353219, 354640, 354649, 354650, 354651, 356640, 356649, 356650, 356651, 356692, 356693, 356700","96-well Corning Falcon Blk/Clr Imaging","Microplates","Standard","Checked"]
["Corning","Plate",96,"N/A",7007,"96-well Corning Round Bottom ULA","Microplates","Spheroid, Standard","Checked"]
["Corning","Plate",96,"N/A",356519,"96-well Corning Falcon Optilux","Microplates","Standard","Checked"]
["Corning","Plate",96,"N/A","353072, 353075, 353872, 353916, 353936, 354407, 354409, 354410, 354429, 354461, 354516, 354596, 354607, 354657, 354670, 354689, 356407, 356461, 356516, 356689, 356690, 356698","96-well Corning Falcon (All Clr)","Microplates","Standard, Whole Well, Dilution Cloning","Checked"]
["Corning","Plate",96,"N/A","3300, 3474, 3585, 3595, 3596, 3598, 3599, 3628, 3997","96-well Corning","Microplates","Standard, Whole Well, Dilution Cloning","Checked"]
["Corning","Plate",96,"N/A","3340, 3603, 3610, 3841, 3842, 3843, 3903, 3904","96-well Corning (Blk/Wht)","Microplates","Standard","Checked"]
["Corning","Plate",384,"N/A","353962, 353963, 354660, 354663, 354664, 354667, 356660, 356663, 356664, 356667, 356697, 356705","384-well Corning Falcon (Blk/Wht)","Microplates","Standard","Unchecked"]
["Corning","Plate",384,"N/A",3764,"384-well Corning (Blk/Wht)","Microplates","Standard, Whole Well, Dilution Cloning","Checked"]
["Corning","Plate",384,"N/A",3985,"384-well Corning (Opt Imaging)","Microplates","Standard, Whole Well, Dilution Cloning","Checked"]
["Corning","Plate",384,"N/A",3701,"384-well Corning (All Clr)","Microplates","Standard","Unchecked"]
["Corning","Plate",384,"N/A","353961, 354662, 354666, 356662, 356666","384-well Corning Falcon (All Clr)","Microplates","Standard","Unchecked"]
["Corning","Flask","N/A",25,"353082, 353109, 354484, 354532, 354533, 354534, 354536, 356484, 356536","Corning Falcon 25 B","Tray 12","Standard","Checked"]
["Corning","Flask","N/A",25,"430168, 430372, 430639","Corning 25 B","Tray 12","Standard","Checked"]
["Corning","Flask","N/A",25,"3055, 3056","Corning 25 A","Tray 1","Standard","Checked"]
["Corning","Flask","N/A",25,"353014, 353108, 353808, 353813","Corning Falcon 25 A","Tray 20","Standard","Checked"]
["Corning","Flask","N/A",75,"3275, 3276","Corning 75 B","Tray 14","Standard","Checked"]
["Corning","Flask","N/A",75,"353133, 353135, 353136, 354485, 354488, 354521, 354523, 354537, 356485, 356488, 356537","Corning Falcon 75 A","Tray 15","Standard","Checked"]
["Corning","Flask","N/A",75,3290,"Corning 75 A","Tray 15","Standard","Checked"]
["Corning","Flask","N/A",75,"3290, 3814, 430641U, 430720U, 430725U, 431464U","Corning 75 U-shaped","Tray 30","Standard","Checked"]
["Corning","Flask","N/A",75,"353024, 353110, 353810, 353824","Corning Falcon 75 B","Tray 14","Standard","Checked"]
["Corning","Flask","N/A",93,"3069, 3070","RoboFlask","Microplates","Standard","Checked"]
["Corning","Flask","N/A",100,"3073, 3816","Corning 100 Low Profile","Tray 22","Standard","Checked"]
["Corning","Flask","N/A",150,"354486, 354538, 354646, 355000, 355001, 356486, 356538","Corning Falcon 150","Tray 5","Standard","Checked"]
["Corning","Flask","N/A",150,"3291, 430823, 430824, 430825","Corning 150","Tray 6","Standard","Checked"]
["Corning","Flask","N/A",162,"3150, 3151","Corning 162","Tray 4","Standard","Checked"]
["Corning","Flask","N/A",175,"3292, 431079, 431080, 431085, 431306","Corning 175","Tray 5","Standard","Checked"]
["Corning","Flask","N/A",175,"353028, 353112, 354487, 354526, 354528, 356487","Corning Falcon 175","Tray 5","Standard","Checked"]
["Corning","Flask","N/A",225,"353138, 353139","Corning Falcon 225","Tray 10","Standard","Checked"]
["Corning","Flask","N/A",225,"3000, 3001","Corning 225 A","Tray 7","Standard","Checked"]
["Corning","Flask","N/A",225,"431081, 431082","Corning 225 B","Tray 10","Standard","Checked"]
["Corning","Dish","N/A",8,430165,"Corning 35mm Dish with Holder","Tray 25","Standard, Whole Well","Checked"]
["Corning","Dish","N/A",9,353001,"Falcon 35mm Dish with Holder","Tray 25","Standard, Whole Well","Checked"]
["Corning","Dish","N/A",9,430165,"Corning 35mm Dish","Tray 21","Standard","Checked"]
["Corning","Dish","N/A",10,353001,"Corning Falcon 35mm Dish","Tray 21","Standard","Checked"]
["Corning","Dish","N/A",21,353002,"Corning Falcon 60mm Dish","Tray 19","Standard","Checked"]
["Corning","Dish","N/A",22,353004,"Corning Falcon Easy Grip 60mm Dish","Tray 19","Standard","Checked"]
["Corning","Dish","N/A",23,430166,"Corning 60mm Dish","Tray 19","Standard","Checked"]
["Corning","Dish","N/A",63,"3262, 3296, 430167, 430293","Corning 100mm Dish","Tray 9","Standard","Checked"]
["Corning","Dish","N/A",63,"353003, 353803, 354450, 354451, 354452, 354453, 354455, 354469, 354600, 354653, 356450, 356469, 356653","Corning Falcon 100mm Dish","Tray 9","Standard","Checked"]
["Corning","Dish","N/A",153,430599,"Corning 150mm Dish","Tray 11","Standard","Checked"]
["CytoOne","Plate",6,"N/A","CC7682-7506","6-well CytoOne","Microplates","Standard","Checked"]
["CytoOne","Plate",12,"N/A","CC7682-7512","12-well CytoOne","Microplates","Standard","Checked"]
["CytoOne","Plate",24,"N/A","CC7682-7524","24-well CytoOne","Microplates","Standard","Checked"]
["CytoOne","Plate",48,"N/A","CC7682-7548","48-well CytoOne","Microplates","Standard","Checked"]
["CytoOne","Plate",96,"N/A","CC7672-7596, CC7682-7596","96-well CytoOne","Microplates","Standard","Checked"]
["Eppendorf","Plate",6,"N/A","0030 720.016, 0030 720.113, 0030 720.121","6-well Eppendorf","Microplates","Standard","Checked"]
["Eppendorf","Plate",12,"N/A","0030 721.012, 0030 721.110","12-well Eppendorf","Microplates","Standard","Checked"]
["Eppendorf","Plate",24,"N/A","0030 722.019, 0030 722.116","24-well Eppendorf","Microplates","Standard","Checked"]
["Eppendorf","Plate",48,"N/A","0030 723.015, 0030 723.112","48-well Eppendorf","Microplates","Standard","Checked"]
["Eppendorf","Plate",96,"N/A","0030 730.011, 0030 730.119, 0030 730.127","96-well Eppendorf","Microplates","Standard","Checked"]
["Eppendorf","Flask","N/A",25,"0030 710.010, 0030 710.029, 0030 710.118, 0030 710.126","Eppendorf 25","Tray 26","Standard","Checked"]
["Eppendorf","Flask","N/A",75,"0030 711.017, 0030 711.025, 0030 711.114, 0030 711.122","Eppendorf 75","Tray 28","Standard","Checked"]
["Eppendorf","Flask","N/A",175,"0030 712.110, 0030 712.129","Eppendorf 175","Tray 29","Standard","Checked"]
["Essen BioScience","Plate",96,"N/A",4379,"96-well Essen ImageLock","Microplates","Scratch Wound, Standard (with lock)","Checked"]
["Essen BioScience","Plate",96,"N/A","4582, 4599","96-well Essen ClearView Cell Migration","Microplates","Chemotaxis (Top/Bot)","Unchecked"]
["Essen BioScience","Plate",96,"N/A","4600, 4601","96-well Essen ClearView Reservoir","Microplates","Standard","Checked"]
["Essen BioScience","Slide",1,"N/A",95004380,"FLR Calibration Slide","MicroSlides","Standard","Checked"]
["Greiner","Plate",6,"N/A",657160,"6-well Greiner","Microplates","Standard","Checked"]
["Greiner","Plate",24,"N/A","662102, 662160, 662165","24-well Greiner","Microplates","Standard","Checked"]
["Greiner","Plate",96,"N/A","655087, 655088, 655090, 655098, 655976","96-well Greiner microclear","Microplates","Standard","Checked"]
["Greiner","Plate",96,"N/A","655160, 655162, 655180, 655182","96-well Greiner","Microplates","Standard","Checked"]
["Greiner","Plate",384,"N/A","781165, 781182","384-well Greiner (All Clr)","Microplates","Standard","Unchecked"]
["Greiner","Plate",384,"N/A","781090, 781091, 781092, 781093, 781094, 781095, 781096, 781097, 781098, 781801, 781936, 781944, 781946, 781948, 781956","384-well Greiner microclear","Microplates","Standard","Unchecked"]
["Greiner","Flask","N/A",25,690160,"Greiner 25","Tray 20","Standard","Checked"]
["Greiner","Flask","N/A",75,"658170, 658175, 658195, 658940, 658950","Greiner 75","Tray 14","Standard","Checked"]
["Greiner","Flask","N/A",182,"660160, 660175, 661160, 661175, 661195, 661940, 661950","Greiner 182","Tray 6","Standard","Checked"]
["Greiner","Dish","N/A",8,627160,"Greiner 35mm Dish with Holder","Tray 25","Standard, Whole Well","Checked"]
["Greiner","Dish","N/A",9,627160,"Greiner 35mm Dish","Tray 21","Standard","Checked"]
["Greiner","Dish","N/A",23,628160,"Greiner 60mm Dish","Tray 19","Standard","Checked"]
["Greiner","Dish","N/A",64,"664160, 664940, 664950","Greiner 100mm Dish","Tray 9","Standard","Checked"]
["Greiner","Dish","N/A",153,639160,"Greiner 150mm Dish","Tray 11","Standard","Checked"]
["Greiner/GNF","Flask","N/A",84,779160,"CELLSTAR AutoFlask","Microplates","Standard","Checked"]
["IBIDI","Flask","N/A",2,"80171, 80172, 80176","IBIDI MicroSlide I","Tray 18","Standard","Checked"]
["IBIDI","Flask","N/A",3,"80121, 80126","IBIDI MicroSlide Y","Tray 18","Standard","Unchecked"]
["IBIDI","Dish","N/A",3,"81151, 81156","IBIDI 35mm Dish","Tray 21","Standard","Unchecked"]
["IBIDI","Slide",8,"N/A","80821, 80822, 80823, 80824, 80825, 80826","8-well IBIDI MicroSlide","Tray 18","Standard","Checked"]
["IBIDI","Slide",36,"N/A","80601, 80602, 80604, 80606","IBIDI MicroSlide VI","Tray 18","Standard","Checked"]
["Iwaki","Plate",6,"N/A","3810-006, 4810-010, 4810-020","6-well Iwaki","Microplates","Standard","Checked"]
["Iwaki","Plate",12,"N/A","3815-012","12-well Iwaki","Microplates","Standard","Checked"]
["Iwaki","Plate",24,"N/A","5826-024","24-well Iwaki Glass Bot","Microplates","Standard","Checked"]
["Iwaki","Plate",24,"N/A","1820-024, 3820-024","24-well Iwaki","Microplates","Standard","Checked"]
["Iwaki","Plate",48,"N/A","1830-048, 3830-048","48-well Iwaki","Microplates","Standard","Checked"]
["Iwaki","Plate",96,"N/A","3860-096, 3861-096","96-well Iwaki","Microplates","Standard","Checked"]
["Iwaki","Plate",384,"N/A","3721-384","384-well Iwaki","Microplates","Standard","Unchecked"]
["Iwaki","Flask","N/A",25,"3100-025","Iwaki 25","Tray 12","Standard","Checked"]
["Iwaki","Flask","N/A",75,"3110-075","Iwaki 75","Tray 15","Standard","Checked"]
["Iwaki","Dish","N/A",11,"1000-035, 3000-035","Iwaki 35mm Dish","Tray 21","Standard","Checked"]
["Iwaki","Dish","N/A",23,"1010-060, 3010-060","Iwaki 60mm Dish","Tray 19","Standard","Checked"]
["Matrix","Plate",384,"N/A","4313, 4336","384-well Matrix ScreenMates (All Clr)","Microplates","Standard","Unchecked"]
["Matrix/Greiner","Plate",384,"N/A","4329, 4330, 4331, 4332","384-well Matrix ScreenMates (Blk/Wht)","Microplates","Standard","Unchecked"]
["MatTek","Plate",6,"N/A","P06G-1.5-20-F","6-well MatTek","Microplates","Standard","Checked"]
["MatTek","Plate",12,"N/A","P12G-1.5-14-F","12-well MatTek","Microplates","Standard","Checked"]
["MatTek","Plate",24,"N/A","P24G-1.5-13-F","24-well MatTek","Microplates","Standard","Checked"]
["MatTek","Dish","N/A",9,"P35G-1.0-14-C","MatTek 35mm Dish","Tray 21","Standard","Checked"]
["Nanofiber Solutions","Plate",96,"N/A","9601, 9602","96-well Nanofiber Solutions","Microplates","Standard","Checked"]
["Nunc","Plate",6,"N/A","140675, 140685","6-well Nunc","Microplates","Standard","Checked"]
["Nunc","Plate",8,"N/A",167064,"8-well Nunc","Microplates","Standard","Checked"]
["Nunc","Plate",12,"N/A",150628,"12-well Nunc","Microplates","Standard","Checked"]
["Nunc","Plate",24,"N/A","142475, 142485","24-well Nunc","Microplates","Standard","Checked"]
["Nunc","Plate",96,"N/A","152028, 152036, 152037, 152040, 165305, 165306","96-well Nunc opt bottom (Blk/Wht)","Microplates","Standard","Checked"]
["Nunc","Plate",96,"N/A","156545, 161093, 167008, 168055","96-well Nunc","Microplates","Standard","Checked"]
["Nunc","Plate",96,"N/A","167311, 167314, 267312, 267313","96-well Nunc Edge","Microplates","Standard","Checked"]
["Nunc","Plate",384,"N/A","142761, 142762, 152029, 152041","384-well Nunc opt bottom (Blk/Wht)","Microplates","Standard","Unchecked"]
["Nunc","Plate",384,"N/A","164555, 164688","384-well Nunc","Microplates","Standard","Unchecked"]
["Nunc","Flask","N/A",25,"136196, 163371","Nunc 25","Tray 20","Standard","Checked"]
["Nunc","Flask","N/A",25,"132703, 132706, 156340, 156367","Nunc EasYFlask 25","Tray 13","Standard","Checked"]
["Nunc","Flask","N/A",75,"132704, 132707, 156472, 156499","Nunc EasYFlask 75","Tray 17","Standard","Checked"]
["Nunc","Flask","N/A",75,"153732, 178905","Nunc 75","Tray 14","Standard","Checked"]
["Nunc","Flask","N/A",175,"132867, 132913, 132920","Nunc TripleFlask","Tray 5","Standard","Checked"]
["Nunc","Flask","N/A",175,"132705, 132708, 159910, 159920","Nunc EasYFlask 175","Tray 5","Standard","Checked"]
["Nunc","Flask","N/A",175,"156502, 178883, 178983","Nunc 175","Tray 5","Standard","Checked"]
["Nunc","Flask","N/A",225,"159933, 159934","Nunc 225","Tray 10","Standard","Checked"]
["Nunc","Dish","N/A",9,"150318, 153066","Nunc 35mm Dish","Tray 21","Standard","Checked"]
["Nunc","Dish","N/A",18,174888,"Nunc 60mm Dish","Tray 19","Standard","Checked"]
["Nunc","Dish","N/A",63,"150350, 150679, 172958","Nunc 100mm Dish","Tray 9","Standard","Checked"]
["Nunc","Dish","N/A",153,168381,"Nunc 150mm Dish","Tray 11","Standard","Checked"]
["Nunc","Slide",8,"N/A",154534,"8-well Nunc Slide","MicroSlides","Standard","Checked"]
["Nunclon","Plate",48,"N/A","150687, 152640","48-well Nunc","Microplates","Standard","Checked"]
["ORGANOGENIX","Plate",96,"N/A","NCP-HH-96-10, NCP-HH-96-2, NCP-HS-96-10, NCP-HS-96-2, NCP-LH-96-10, NCP-LH-96-2, NCP-LS-96-10, NCP-LS-96-2, NCP-LSH-96-2","96-well ORGANOGENIX","Microplates","Standard","Checked"]
["PerkinElmer","Plate",96,"N/A","6005181, 6005182, 6005225","96-well PerkinElmer ViewPlate","Microplates","Standard","Checked"]
["PerkinElmer","Plate",96,"N/A","6005450, 6005458, 6005550, 6005558, 6005920, 6005928","96-well PerkinElmer CellCarrier","Microplates","Standard","Checked"]
["PerkinElmer","Plate",96,"N/A","6055300, 6055302, 6055308","96-well PerkinElmer CellCarrier Ultra","Microplates","Standard","Checked"]
["PerkinElmer","Plate",384,"N/A","6007480, 6007490","384-well PerkinElmer ViewPlate","Microplates","Standard","Unchecked"]
["PerkinElmer","Plate",384,"N/A","6057300, 6057302, 6057308","384-well PerkinElmer Cell Carrier Ultra","Microplates","Standard","Unchecked"]
["Porvair","Plate",384,"N/A","311003, 311503, 312003, 312030, 312503","384-well Porvair Krystal","Microplates","Standard","Unchecked"]
["Sarstedt","Plate",6,"N/A","83.3920, 83.3920.300, 83.3920.500","6-well Sarstedt","Microplates","Standard","Checked"]
["Sarstedt","Plate",12,"N/A","83.3921, 83.3921.300, 83.3921.500","12-well Sarstedt","Microplates","Standard","Checked"]
["Sarstedt","Plate",24,"N/A","83.3922, 83.3922.300, 83.3922.500","24-well Sarstedt","Microplates","Standard","Checked"]
["Sarstedt","Plate",96,"N/A","83.3924, 83.3924.300, 83.3924.500","96-well Sarstedt","Microplates","Standard","Checked"]
["Sarstedt","Flask","N/A",25,"83.3910, 83.3910.002, 83.3910.300, 83.3910.302, 83.3910.500, 83.3910.502","Sarstedt 25","Tray 13","Standard","Checked"]
["Sarstedt","Flask","N/A",75,"83.3911, 83.3911.002, 83.3911.300, 83.3911.302, 83.3911.500, 83.3911.502","Sarstedt 75","Tray 17","Standard","Checked"]
["Sarstedt","Dish","N/A",9,"83.3900, 83.3900.300, 83.3900.500","Sarstedt 35mm Dish","Tray 21","Standard","Checked"]
["Sarstedt","Dish","N/A",23,"83.3901, 83.3901.300, 83.3901.500","Sarstedt 60mm Dish","Tray 19","Standard","Checked"]
["Sarstedt","Dish","N/A",58,"83.3902, 83.3902.300, 83.3902.500","Sarstedt 100mm Dish","Tray 9","Standard","Checked"]
["S-BIO","Plate",6,"N/A","MS-80060","6-well S-BIO","Microplates","Standard","Checked"]
["S-BIO","Plate",12,"N/A","MS-80120","12-well S-BIO","Microplates","Standard","Checked"]
["S-BIO","Plate",24,"N/A","MS-80240","24-well S-BIO","Microplates","Standard","Checked"]
["S-BIO","Plate",48,"N/A","MS-80480","48-well S-BIO","Microplates","Standard","Checked"]
["S-BIO","Plate",96,"N/A","MS-9096UZ","96-well S-BIO PrimeSurface","Microplates","Spheroid","Checked"]
["S-BIO","Plate",96,"N/A","MS-3096F, MS-8096F, MS-8196F5","96-well S-BIO","Microplates","Standard","Checked"]
["S-BIO","Plate",384,"N/A","MS-9384UZ","384-well S-BIO PrimeSurface","Microplates","Spheroid","Unchecked"]
["SPL","Plate",6,"N/A","30006, 31006, 32006","6-well SPL","Microplates","Standard","Checked"]
["SPL","Plate",12,"N/A","30012, 31012, 32012","12-well SPL","Microplates","Standard","Checked"]
["Thermo Scientific","Plate",12,"N/A",130185,"12-well Thermo BioLite","Microplates","Standard","Checked"]
["Thermo Scientific","Flask","N/A",75,"130190, 130193","Thermo BioLite 75","Tray 17","Standard","Checked"]
["TPP","Plate",6,"N/A","92006, 92406","6-well TPP","Microplates","Standard, Whole Well","Checked"]
["TPP","Plate",12,"N/A","92012, 92412","12-well TPP","Microplates","Standard, Whole Well","Checked"]
["TPP","Plate",24,"N/A","92024, 92424","24-well TPP","Microplates","Standard, Whole Well","Checked"]
["TPP","Plate",96,"N/A","92096, 92696","96-well TPP","Microplates","Standard, Whole Well","Checked"]
["TPP","Flask","N/A",25,"90025, 90026","TPP 25","Tray 13","Standard","Checked"]
["TPP","Flask","N/A",75,"90075, 90076","TPP 75","Tray 17","Standard","Checked"]
["TPP","Flask","N/A",150,"90150, 90151","TPP 150","Tray 5","Standard","Checked"]
["TPP","Dish","N/A",9,93040,"TPP 35mm Dish","Tray 21","Standard","Checked"]
["TPP","Dish","N/A",23,93060,"TPP 60mm Dish","Tray 19","Standard","Checked"]
["TPP","Dish","N/A",153,93150,"TPP 150mm Dish","Tray 11","Standard","Checked"]
["WPI","Dish","N/A",4,"FD35-100, FD35PDL-100","WPI 35mm Fluorodish","Tray 21","Standard","Checked"]
["zell-kontakt","Plate",96,"N/A","5241-20","96-well zell-kontakt Imaging Plate CG","Microplates","Standard","Checked"]

{"sheet":"Sheet2","index":1,"n_rows":172,"n_cols":9,"rows_kept":172}
["Manufacturer","Vessel Type","Wells","Area (cm²)","Catalog #s","Vessel Name","Tray Name","Scan Types","4x"]
["Agilent Seahorse","Plate",24,"N/A","101037-004","24-well Seahorse XF24 V7-PET","Microplates","Standard","Checked"]
["Agilent Seahorse","Plate",24,"N/A","100777-004","24-well Seahorse XF24 V7-PS","Microplates","Standard","Checked"]
["Aurora","Plate",384,"N/A","ABE2-10100A, ABE2-11100A, ABE2-11101A","384-well Aurora IQ-EB Ultra Low Base","Microplates","Standard","Unchecked"]
["Aurora","Plate",384,"N/A","ABB1-10100A, ABB1-11100A, ABB1-11101A, ABC1-10100A, ABC1-11100A, ABC1-11101A, ACB1-10100A, ACB1-11100A, ACB1-11101A, ACC1-10100A, ACC1-11100A, ACC1-11101A, AWB1-10100A, AWB1-11100A, AWB1-11101A, AWC1-10100A, AWC1-11100A, AWC1-11101A","384-well Aurora IQ-EB","Microplates","Standard","Unchecked"]
["BRAND","Plate",96,"N/A","7816 60, 7819 00, 7819 60","96-well BRANDplate","Microplates","Spheroid","Checked"]
["Cellvis","Plate",12,"N/A","P12-1.5H-N","12-well Cellvis","Microplates","Standard","Checked"]
["Cellvis","Plate",96,"N/A","P96-1.5H-N","96-well Cellvis","Microplates","Standard","Checked"]
["Corning","Plate",6,"N/A","353046, 353224, 353846, 353934, 354400, 354402, 354404, 354413, 354417, 354428, 354431, 354432, 354510, 354515, 354595, 354603, 354652, 354658, 356400, 356413, 356515, 356652","6-well Corning Falcon","Microplates","Standard, Whole Well","Checked"]
["Corning","Plate",6,"N/A","3335, 3471, 3506, 3516","6-well Corning","Microplates","Standard, Whole Well","Checked"]
["Corning","Plate",12,"N/A","353043, 353225, 354470, 354500, 354501, 354502, 354503, 356470","12-well Corning Falcon","Microplates","Standard, Whole Well","Checked"]
["Corning","Plate",12,"N/A","3336, 3512, 3513","12-well Corning","Microplates","Standard, Whole Well","Checked"]
["Corning","Plate",24,"N/A","3337, 3473, 3524, 3526, 3527","24-well Corning","Microplates","Standard, Whole Well","Checked"]
["Corning","Plate",24,"N/A","353047, 353226, 353847, 353935, 354408, 354411, 354412, 354414, 354433, 354605, 354619, 354635, 354659, 356408, 356414","24-well Corning Falcon","Microplates","Standard, Whole Well","Checked"]
["Corning","Plate",48,"N/A","353078, 353230, 354505, 354506, 354507, 354508, 354509, 356505, 356509","48-well Corning Falcon","Microplates","Standard","Checked"]
["Corning","Plate",48,"N/A","3338, 3548","48-well Corning","Microplates","Standard","Checked"]
["Corning","Plate",96,"N/A","4580, 4582, 4584, 4586","96-well Corning Half Area Glass Bottom","Microplates","Standard","Unchecked"]
["Corning","Plate",96,"N/A","353219, 354640, 354649, 354650, 354651, 356640, 356649, 356650, 356651, 356692, 356693, 356700","96-well Corning Falcon Blk/Clr Imaging","Microplates","Standard","Checked"]
["Corning","Plate",96,"N/A",7007,"96-well Corning Round Bottom ULA","Microplates","Spheroid, Standard","Checked"]
["Corning","Plate",96,"N/A",356519,"96-well Corning Falcon Optilux","Microplates","Standard","Checked"]
["Corning","Plate",96,"N/A","353072, 353075, 353872, 353916, 353936, 354407, 354409, 354410, 354429, 354461, 354516, 354596, 354607, 354657, 354670, 354689, 356407, 356461, 356516, 356689, 356690, 356698","96-well Corning Falcon (All Clr)","Microplates","Standard, Whole Well, Dilution Cloning","Checked"]
["Corning","Plate",96,"N/A","3300, 3474, 3585, 3595, 3596, 3598, 3599, 3628, 3997","96-well Corning","Microplates","Standard, Whole Well, Dilution Cloning","Checked"]
["Corning","Plate",96,"N/A","3340, 3603, 3610, 3841, 3842, 3843, 3903, 3904","96-well Corning (Blk/Wht)","Microplates","Standard","Checked"]
["Corning","Plate",384,"N/A","353962, 353963, 354660, 354663, 354664, 354667, 356660, 356663, 356664, 356667, 356697, 356705","384-well Corning Falcon (Blk/Wht)","Microplates","Standard","Unchecked"]
["Corning","Plate",384,"N/A",3764,"384-well Corning (Blk/Wht)","Microplates","Standard, Whole Well, Dilution Cloning","Checked"]
["Corning","Plate",384,"N/A",3985,"384-well Corning (Opt Imaging)","Microplates","Standard, Whole Well, Dilution Cloning","Checked"]
["Corning","Plate",384,"N/A",3701,"384-well Corning (All Clr)","Microplates","Standard","Unchecked"]
["Corning","Plate",384,"N/A","353961, 354662, 354666, 356662, 356666","384-well Corning Falcon (All Clr)","Microplates","Standard","Unchecked"]
["Corning","Flask","N/A",25,"353082, 353109, 354484, 354532, 354533, 354534, 354536, 356484, 356536","Corning Falcon 25 B","Tray 12","Standard","Checked"]
["Corning","Flask","N/A",25,"430168, 430372, 430639","Corning 25 B","Tray 12","Standard","Checked"]
["Corning","Flask","N/A",25,"3055, 3056","Corning 25 A","Tray 1","Standard","Checked"]
["Corning","Flask","N/A",25,"353014, 353108, 353808, 353813","Corning Falcon 25 A","Tray 20","Standard","Checked"]
["Corning","Flask","N/A",75,"3275, 3276","Corning 75 B","Tray 14","Standard","Checked"]
["Corning","Flask","N/A",75,"353133, 353135, 353136, 354485, 354488, 354521, 354523, 354537, 356485, 356488, 356537","Corning Falcon 75 A","Tray 15","Standard","Checked"]
["Corning","Flask","N/A",75,3290,"Corning 75 A","Tray 15","Standard","Checked"]
["Corning","Flask","N/A",75,"3290, 3814, 430641U, 430720U, 430725U, 431464U","Corning 75 U-shaped","Tray 30","Standard","Checked"]
["Corning","Flask","N/A",75,"353024, 353110, 353810, 353824","Corning Falcon 75 B","Tray 14","Standard","Checked"]
["Corning","Flask","N/A",93,"3069, 3070","RoboFlask","Microplates","Standard","Checked"]
["Corning","Flask","N/A",100,"3073, 3816","Corning 100 Low Profile","Tray 22","Standard","Checked"]
["Corning","Flask","N/A",150,"354486, 354538, 354646, 355000, 355001, 356486, 356538","Corning Falcon 150","Tray 5","Standard","Checked"]
["Corning","Flask","N/A",150,"3291, 430823, 430824, 430825","Corning 150","Tray 6","Standard","Checked"]
["Corning","Flask","N/A",162,"3150, 3151","Corning 162","Tray 4","Standard","Checked"]
["Corning","Flask","N/A",175,"3292, 431079, 431080, 431085, 431306","Corning 175","Tray 5","Standard","Checked"]
["Corning","Flask","N/A",175,"353028, 353112, 354487, 354526, 354528, 356487","Corning Falcon 175","Tray 5","Standard","Checked"]
["Corning","Flask","N/A",225,"353138, 353139","Corning Falcon 225","Tray 10","Standard","Checked"]
["Corning","Flask","N/A",225,"3000, 3001","Corning 225 A","Tray 7","Standard","Checked"]
["Corning","Flask","N/A",225,"431081, 431082","Corning 225 B","Tray 10","Standard","Checked"]
["Corning","Dish","N/A",8,430165,"Corning 35mm Dish with Holder","Tray 25","Standard, Whole Well","Checked"]
["Corning","Dish","N/A",9,353001,"Falcon 35mm Dish with Holder","Tray 25","Standard, Whole Well","Checked"]
["Corning","Dish","N/A",9,430165,"Corning 35mm Dish","Tray 21","Standard","Checked"]
["Corning","Dish","N/A",10,353001,"Corning Falcon 35mm Dish","Tray 21","Standard","Checked"]
["Corning","Dish","N/A",21,353002,"Corning Falcon 60mm Dish","Tray 19","Standard","Checked"]
["Corning","Dish","N/A",22,353004,"Corning Falcon Easy Grip 60mm Dish","Tray 19","Standard","Checked"]
["Corning","Dish","N/A",23,430166,"Corning 60mm Dish","Tray 19","Standard","Checked"]
["Corning","Dish","N/A",63,"3262, 3296, 430167, 430293","Corning 100mm Dish","Tray 9","Standard","Checked"]
["Corning","Dish","N/A",63,"353003, 353803, 354450, 354451, 354452, 354453, 354455, 354469, 354600, 354653, 356450, 356469, 356653","Corning Falcon 100mm Dish","Tray 9","Standard","Checked"]
["Corning","Dish","N/A",153,430599,"Corning 150mm Dish","Tray 11","Standard","Checked"]
["CytoOne","Plate",6,"N/A","CC7682-7506","6-well CytoOne","Microplates","Standard","Checked"]
["CytoOne","Plate",12,"N/A","CC7682-7512","12-well CytoOne","Microplates","Standard","Checked"]
["CytoOne","Plate",24,"N/A","CC7682-7524","24-well CytoOne","Microplates","Standard","Checked"]
["CytoOne","Plate",48,"N/A","CC7682-7548","48-well CytoOne","Microplates","Standard","Checked"]
["CytoOne","Plate",96,"N/A","CC7672-7596, CC7682-7596","96-well CytoOne","Microplates","Standard","Checked"]
["Eppendorf","Plate",6,"N/A","0030 720.016, 0030 720.113, 0030 720.121","6-well Eppendorf","Microplates","Standard","Checked"]
["Eppendorf","Plate",12,"N/A","0030 721.012, 0030 721.110","12-well Eppendorf","Microplates","Standard","Checked"]
["Eppendorf","Plate",24,"N/A","0030 722.019, 0030 722.116","24-well Eppendorf","Microplates","Standard","Checked"]
["Eppendorf","Plate",48,"N/A","0030 723.015, 0030 723.112","48-well Eppendorf","Microplates","Standard","Checked"]
["Eppendorf","Plate",96,"N/A","0030 730.011, 0030 730.119, 0030 730.127","96-well Eppendorf","Microplates","Standard","Checked"]
["Eppendorf","Flask","N/A",25,"0030 710.010, 0030 710.029, 0030 710.118, 0030 710.126","Eppendorf 25","Tray 26","Standard","Checked"]
["Eppendorf","Flask","N/A",75,"0030 711.017, 0030 711.025, 0030 711.114, 0030 711.122","Eppendorf 75","Tray 28","Standard","Checked"]
["Eppendorf","Flask","N/A",175,"0030 712.110, 0030 712.129","Eppendorf 175","Tray 29","Standard","Checked"]
["Essen BioScience","Plate",96,"N/A",4379,"96-well Essen ImageLock","Microplates","Scratch Wound, Standard (with lock)","Checked"]
["Essen BioScience","Plate",96,"N/A","4582, 4599","96-well Essen ClearView Cell Migration","Microplates","Chemotaxis (Top/Bot)","Unchecked"]
["Essen BioScience","Plate",96,"N/A","4600, 4601","96-well Essen ClearView Reservoir","Microplates","Standard","Checked"]
["Essen BioScience","Slide",1,"N/A",95004380,"FLR Calibration Slide","MicroSlides","Standard","Checked"]
["Greiner","Plate",6,"N/A",657160,"6-well Greiner","Microplates","Standard","Checked"]
["Greiner","Plate",24,"N/A","662102, 662160, 662165","24-well Greiner","Microplates","Standard","Checked"]
["Greiner","Plate",96,"N/A","655087, 655088, 655090, 655098, 655976","96-well Greiner microclear","Microplates","Standard","Checked"]
["Greiner","Plate",96,"N/A","655160, 655162, 655180, 655182","96-well Greiner","Microplates","Standard","Checked"]
["Greiner","Plate",384,"N/A","781165, 781182","384-well Greiner (All Clr)","Microplates","Standard","Unchecked"]
["Greiner","Plate",384,"N/A","781090, 781091, 781092, 781093, 781094, 781095, 781096, 781097, 781098, 781801, 781936, 781944, 781946, 781948, 781956","384-well Greiner microclear","Microplates","Standard","Unchecked"]
["Greiner","Flask","N/A",25,690160,"Greiner 25","Tray 20","Standard","Checked"]
["Greiner","Flask","N/A",75,"658170, 658175, 658195, 658940, 658950","Greiner 75","Tray 14","Standard","Checked"]
["Greiner","Flask","N/A",182,"660160, 660175, 661160, 661175, 661195, 661940, 661950","Greiner 182","Tray 6","Standard","Checked"]
["Greiner","Dish","N/A",8,627160,"Greiner 35mm Dish with Holder","Tray 25","Standard, Whole Well","Checked"]
["Greiner","Dish","N/A",9,627160,"Greiner 35mm Dish","Tray 21","Standard","Checked"]
["Greiner","Dish","N/A",23,628160,"Greiner 60mm Dish","Tray 19","Standard","Checked"]
["Greiner","Dish","N/A",64,"664160, 664940, 664950","Greiner 100mm Dish","Tray 9","Standard","Checked"]
["Greiner","Dish","N/A",153,639160,"Greiner 150mm Dish","Tray 11","Standard","Checked"]
["Greiner/GNF","Flask","N/A",84,779160,"CELLSTAR AutoFlask","Microplates","Standard","Checked"]
["IBIDI","Flask","N/A",2,"80171, 80172, 80176","IBIDI MicroSlide I","Tray 18","Standard","Checked"]
["IBIDI","Flask","N/A",3,"80121, 80126","IBIDI MicroSlide Y","Tray 18","Standard","Unchecked"]
["IBIDI","Dish","N/A",3,"81151, 81156","IBIDI 35mm Dish","Tray 21","Standard","Unchecked"]
["IBIDI","Slide",8,"N/A","80821, 80822, 80823, 80824, 80825, 80826","8-well IBIDI MicroSlide","Tray 18","Standard","Checked"]
["IBIDI","Slide",36,"N/A","80601, 80602, 80604, 80606","IBIDI MicroSlide VI","Tray 18","Standard","Checked"]
["Iwaki","Plate",6,"N/A","3810-006, 4810-010, 4810-020","6-well Iwaki","Microplates","Standard","Checked"]
["Iwaki","Plate",12,"N/A","3815-012","12-well Iwaki","Microplates","Standard","Checked"]
["Iwaki","Plate",24,"N/A","5826-024","24-well Iwaki Glass Bot","Microplates","Standard","Checked"]
["Iwaki","Plate",24,"N/A","1820-024, 3820-024","24-well Iwaki","Microplates","Standard","Checked"]
["Iwaki","Plate",48,"N/A","1830-048, 3830-048","48-well Iwaki","Microplates","Standard","Checked"]
["Iwaki","Plate",96,"N/A","3860-096, 3861-096","96-well Iwaki","Microplates","Standard","Checked"]
["Iwaki","Plate",384,"N/A","3721-384","384-well Iwaki","Microplates","Standard","Unchecked"]
["Iwaki","Flask","N/A",25,"3100-025","Iwaki 25","Tray 12","Standard","Checked"]
["Iwaki","Flask","N/A",75,"3110-075","Iwaki 75","Tray 15","Standard","Checked"]
["Iwaki","Dish","N/A",11,"1000-035, 3000-035","Iwaki 35mm Dish","Tray 21","Standard","Checked"]
["Iwaki","Dish","N/A",23,"1010-060, 3010-060","Iwaki 60mm Dish","Tray 19","Standard","Checked"]
["Matrix","Plate",384,"N/A","4313, 4336","384-well Matrix ScreenMates (All Clr)","Microplates","Standard","Unchecked"]
["Matrix/Greiner","Plate",384,"N/A","4329, 4330, 4331, 4332","384-well Matrix ScreenMates (Blk/Wht)","Microplates","Standard","Unchecked"]
["MatTek","Plate",6,"N/A","P06G-1.5-20-F","6-well MatTek","Microplates","Standard","Checked"]
["MatTek","Plate",12,"N/A","P12G-1.5-14-F","12-well MatTek","Microplates","Standard","Checked"]
["MatTek","Plate",24,"N/A","P24G-1.5-13-F","24-well MatTek","Microplates","Standard","Checked"]
["MatTek","Dish","N/A",9,"P35G-1.0-14-C","MatTek 35mm Dish","Tray 21","Standard","Checked"]
["Nanofiber Solutions","Plate",96,"N/A","9601, 9602","96-well Nanofiber Solutions","Microplates","Standard","Checked"]
["Nunc","Plate",6,"N/A","140675, 140685","6-well Nunc","Microplates","Standard","Checked"]
["Nunc","Plate",8,"N/A",167064,"8-well Nunc","Microplates","Standard","Checked"]
["Nunc","Plate",12,"N/A",150628,"12-well Nunc","Microplates","Standard","Checked"]
["Nunc","Plate",24,"N/A","142475, 142485","24-well Nunc","Microplates","Standard","Checked"]
["Nunc","Plate",96,"N/A","152028, 152036, 152037, 152040, 165305, 165306","96-well Nunc opt bottom (Blk/Wht)","Microplates","Standard","Checked"]
["Nunc","Plate",96,"N/A","156545, 161093, 167008, 168055","96-well Nunc","Microplates","Standard","Checked"]
["Nunc","Plate",96,"N/A","167311, 167314, 267312, 267313","96-well Nunc Edge","Microplates","Standard","Checked"]
["Nunc","Plate",384,"N/A","142761, 142762, 152029, 152041","384-well Nunc opt bottom (Blk/Wht)","Microplates","Standard","Unchecked"]
["Nunc","Plate",384,"N/A","164555, 164688","384-well Nunc","Microplates","Standard","Unchecked"]
["Nunc","Flask","N/A",25,"136196, 163371","Nunc 25","Tray 20","Standard","Checked"]
["Nunc","Flask","N/A",25,"132703, 132706, 156340, 156367","Nunc EasYFlask 25","Tray 13","Standard","Checked"]
["Nunc","Flask","N/A",75,"132704, 132707, 156472, 156499","Nunc EasYFlask 75","Tray 17","Standard","Checked"]
["Nunc","Flask","N/A",75,"153732, 178905","Nunc 75","Tray 14","Standard","Checked"]
["Nunc","Flask","N/A",175,"132867, 132913, 132920","Nunc TripleFlask","Tray 5","Standard","Checked"]
["Nunc","Flask","N/A",175,"132705, 132708, 159910, 159920","Nunc EasYFlask 175","Tray 5","Standard","Checked"]
["Nunc","Flask","N/A",175,"156502, 178883, 178983","Nunc 175","Tray 5","Standard","Checked"]
["Nunc","Flask","N/A",225,"159933, 159934","Nunc 225","Tray 10","Standard","Checked"]
["Nunc","Dish","N/A",9,"150318, 153066","Nunc 35mm Dish","Tray 21","Standard","Checked"]
["Nunc","Dish","N/A",18,174888,"Nunc 60mm Dish","Tray 19","Standard","Checked"]
["Nunc","Dish","N/A",63,"150350, 150679, 172958","Nunc 100mm Dish","Tray 9","Standard","Checked"]
["Nunc","Dish","N/A",153,168381,"Nunc 150mm Dish","Tray 11","Standard","Checked"]
["Nunc","Slide",8,"N/A",154534,"8-well Nunc Slide","MicroSlides","Standard","Checked"]
["Nunclon","Plate",48,"N/A","150687, 152640","48-well Nunc","Microplates","Standard","Checked"]
["ORGANOGENIX","Plate",96,"N/A","NCP-HH-96-10, NCP-HH-96-2, NCP-HS-96-10, NCP-HS-96-2, NCP-LH-96-10, NCP-LH-96-2, NCP-LS-96-10, NCP-LS-96-2, NCP-LSH-96-2","96-well ORGANOGENIX","Microplates","Standard","Checked"]
["PerkinElmer","Plate",96,"N/A","6005181, 6005182, 6005225","96-well PerkinElmer ViewPlate","Microplates","Standard","Checked"]
["PerkinElmer","Plate",96,"N/A","6005450, 6005458, 6005550, 6005558, 6005920, 6005928","96-well PerkinElmer CellCarrier","Microplates","Standard","Checked"]
["PerkinElmer","Plate",384,"N/A","6007480, 6007490","384-well PerkinElmer ViewPlate","Microplates","Standard","Unchecked"]
["Porvair","Plate",384,"N/A","311003, 311503, 312003, 312030, 312503","384-well Porvair Krystal","Microplates","Standard","Unchecked"]
["Sarstedt","Plate",6,"N/A","83.3920, 83.3920.300, 83.3920.500","6-well Sarstedt","Microplates","Standard","Checked"]
["Sarstedt","Plate",12,"N/A","83.3921, 83.3921.300, 83.3921.500","12-well Sarstedt","Microplates","Standard","Checked"]
["Sarstedt","Plate",24,"N/A","83.3922, 83.3922.300, 83.3922.500","24-well Sarstedt","Microplates","Standard","Checked"]
["Sarstedt","Plate",96,"N/A","83.3924, 83.3924.300, 83.3924.500","96-well Sarstedt","Microplates","Standard","Checked"]
["Sarstedt","Flask","N/A",25,"83.3910, 83.3910.002, 83.3910.300, 83.3910.302, 83.3910.500, 83.3910.502","Sarstedt 25","Tray 13","Standard","Checked"]
["Sarstedt","Flask","N/A",75,"83.3911, 83.3911.002, 83.3911.300, 83.3911.302, 83.3911.500, 83.3911.502","Sarstedt 75","Tray 17","Standard","Checked"]
["Sarstedt","Dish","N/A",9,"83.3900, 83.3900.300, 83.3900.500","Sarstedt 35mm Dish","Tray 21","Standard","Checked"]
["Sarstedt","Dish","N/A",23,"83.3901, 83.3901.300, 83.3901.500","Sarstedt 60mm Dish","Tray 19","Standard","Checked"]
["Sarstedt","Dish","N/A",58,"83.3902, 83.3902.300, 83.3902.500","Sarstedt 100mm Dish","Tray 9","Standard","Checked"]
["S-BIO","Plate",6,"N/A","MS-80060","6-well S-BIO","Microplates","Standard","Checked"]
["S-BIO","Plate",12,"N/A","MS-80120","12-well S-BIO","Microplates","Standard","Checked"]
["S-BIO","Plate",24,"N/A","MS-80240","24-well S-BIO","Microplates","Standard","Checked"]
["S-BIO","Plate",48,"N/A","MS-80480","48-well S-BIO","Microplates","Standard","Checked"]
["S-BIO","Plate",96,"N/A","MS-9096UZ","96-well S-BIO PrimeSurface","Microplates","Spheroid","Checked"]
["S-BIO","Plate",96,"N/A","MS-3096F, MS-8096F, MS-8196F5","96-well S-BIO","Microplates","Standard","Checked"]
["S-BIO","Plate",384,"N/A","MS-9384UZ","384-well S-BIO PrimeSurface","Microplates","Spheroid","Unchecked"]
["SPL","Plate",6,"N/A","30006, 31006, 32006","6-well SPL","Microplates","Standard","Checked"]
["SPL","Plate",12,"N/A","30012, 31012, 32012","12-well SPL","Microplates","Standard","Checked"]
["Thermo Scientific","Plate",12,"N/A",130185,"12-well Thermo BioLite","Microplates","Standard","Checked"]
["Thermo Scientific","Flask","N/A",75,"130190, 130193","Thermo BioLite 75","Tray 17","Standard","Checked"]
["TPP","Plate",6,"N/A","92006, 92406","6-well TPP","Microplates","Standard, Whole Well","Checked"]
["TPP","Plate",12,"N/A","92012, 92412","12-well TPP","Microplates","Standard, Whole Well","Checked"]
["TPP","Plate",24,"N/A","92024, 92424","24-well TPP","Microplates","Standard, Whole Well","Checked"]
["TPP","Plate",96,"N/A","92096, 92696","96-well TPP","Microplates","Standard, Whole Well","Checked"]
["TPP","Flask","N/A",25,"90025, 90026","TPP 25","Tray 13","Standard","Checked"]
["TPP","Flask","N/A",75,"90075, 90076","TPP 75","Tray 17","Standard","Checked"]
["TPP","Flask","N/A",150,"90150, 90151","TPP 150","Tray 5","Standard","Checked"]
["TPP","Dish","N/A",9,93040,"TPP 35mm Dish","Tray 21","Standard","Checked"]
["TPP","Dish","N/A",23,93060,"TPP 60mm Dish","Tray 19","Standard","Checked"]
["TPP","Dish","N/A",153,93150,"TPP 150mm Dish","Tray 11","Standard","Checked"]
["WPI","Dish","N/A",4,"FD35-100, FD35PDL-100","WPI 35mm Fluorodish","Tray 21","Standard","Checked"]
["zell-kontakt","Plate",96,"N/A","5241-20","96-well zell-kontakt Imaging Plate CG","Microplates","Standard","Checked"]